7th floor

This is for BLDG only.

All other trades will need to be signed off.

742-Pass

743-Pass

744- Fail   Unit door not self-closing/latching

745-Fail    Unit door not self-closing/latching

701-Fail     WFP, Gap at sprinkler head, Electrical devices not installed

702-Pass

703-Fail    WFP

704-Fail    WFP, Top right bolt on guard loose

705-Fail    WFP

706-Fail    WFP, Broken window

707-Fail    Guard lower right bolt loose

708-Pass

709-Fail    WFP

710-Fail    WFP

711-Pass

714-Fail    WFP

715-Fail    WFP, Top of guard missing

716-Fail Lower left bolt of guard loose, Sinks not installed

760-Fail  Electric heater located in storage cage