1200 Broadway

5th floor

Corridor- access panel missing in ceiling

All unit doors are missing hardware on jamb

501- WFP

502-Pass

503-Pass

504-WFP, Guard bolts loose, Unit not self latching

505-WFP

506-PASS

507-PASS

508-WFP

509-WFP

510-WFP, NO APPLIANCES

511-PASS

512-WFP, Guard lower left bolt loose

513-WFP, Sprinkler escutcheon missing

514-WFP

515-WFP, Lav not installed

516-WFP

517-WFP, Plumbing fixtures not installed, Elec covers not installed, Unit door not self latching

518-WFP, Unit door not self latching

519-WFP Elec covers missing

520-WFP

523-WFP

524-WFP

525-WFP, Guard lower left bolt loose

528-WFP, Lav not installed

529-WFP

530-WFP

531-WFP

536-WFP

537-WFP

538-PASS

539-WFP

540-WFP, Hole in ceiling

541-PASS

542- Unit door not self latching

543-PASS

544-PASS

545-PASS

560- Fire stop top of green water lines